## Option 2 - New Structure
UIT University | [6 empty] | Financial Proposal (BOQ)
Administration Department | [6 empty] | RFP / Quotation for Renovation of Cafeteria
Company
NTN
Contct Person
Contact No.
Sr. | Description of Items | Nature | Unit | Qty | Rates | Amount | Remarks
1 | Interior Designing of Cafeteria | Desgin
1.1 | Design consultation with drawings including color scheme, furniture layout, and product selection for the Cafeteria |  | Sft | 2926 |  | 0
| Development of two initial designs |  | Job | 1 |  | 0
1.2 | Complete set of 2D drawings (Plans, Sections and Elevations) with details of civil, electrical and plumbing works will be provided in electronic print via email/whatsapp and print of the same will be given to contractors. |  | Job | 1 |  | 0
1.3 | Material selection/ Mood board |  | Job | 1 |  | 0
1.4 | Selection only (if any) of movable furniture, blinds, lights, wall paintings, art pieces. |  | Job | 1 |  | 0
1.5 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
2 | Shifting of Sewage Line | Civil Works
2.1 | Removal of existing drain lines from the Cafeteria and covering all manholes |  | Job | 1 |  | 0
2.2 | Shifting existing drainage lines of the main building to main holes in the open area |  | Job | 1 |  | 0
2.3 | Supply, fixing and installation of drain pipes |  | Rft | 50 |  | 0
2.4 | Supply, fixing and installation of joints, etc |  | Job | 1 |  | 0
2.5 | Construction of main holes |  | No. | 5 |  | 0
2.6 | Supply and installation of fiber / rubber / plastic manhole covers of 2'x2' |  | No. | 5 |  | 0
2.7 | Repair and maintenance of existing pipes if damaged |  | Job | 1 |  | 0
2.8 | Ensuring flow of drain waters |  | Job | 1 |  | 0
2.9 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
3 | Supply and Installation of Fiber Glass Sheet | Civil Works
3.1 | Removal of existing false ceiling |  | Job | 1 |  | 0
3.2 | Removal of existing corrugated sheet |  | Job | 1 |  | 0
3.3 | Repair and maintenance of steel structure supporting corrugated sheet and iron galvanized poles by applying red oxide and paint |  | Job | 1 |  | 0
3.4 | Supply and installation of fiber glass sheet of 12 mm for the area size (Lxw): 133' x 22' maintaining slope towards open area with prior approval of the sample |  | Sft | 2926 |  | 0
3.5 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
4 | Flooring | Civil Works
4.1 | Repairing the existing floor |  | Job | 1 |  | 0
4.2 | Supply and laying porcelain tiles with bond on CC Floor of good brand with the base price of PKR 2000 per sq. meter |  | Sft | 2640 |  | 0
4.3 | Tile Skirting of good brand with the base price of PKR 2000 per sq. meter |  | Rft | 284 |  | 0
4.4 | Complete in all respect as per site requirement and satisfaction of the University |  | Job | 1 |  | 0
0
5 | False Ceiling | Fixture
5.1 | Supply and Installation of Gypsum board material of 2’-0” x 2’-0” |  | Sft | 2640 |  | 0
5.2 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
6 | Furniture & Fixture | Furniture
6.1 | Supply and delivery of rectangle shape 3/4" MDF lamination tables of 4'-0" x 3'-6" (LxW) with patex top and MS 1"x 2" section base rectangle shape legs with paint finish and as per approved color (sample attached) |  | No. | 20 |  | 0 | Sample Attached
6.2 | Supply and delivery of round shape 3/4" MDF lamination tables of 4'-0" dia with patex top and MS 1"x 2" section base round shape legs with paint finish and as per approved color (sample attached) |  | No. | 10 |  | 0 | Sample Attached
6.3 | Supply of metal base fiber / plastic top dining chairs for students as per approved sample (picture attached) |  | No. | 120 |  | 0 | Sample Attached
6.4 | Supply of 20 metal base fabric cushion top dining chairs for faculty / Staff as per approved sample (picture attached) |  | No. | 20 |  | 0 | Sample Attached
6.5 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
7 | Marble Counter | Civil Works
7.1 | L-shape brick masonry counter wall of 22' x 3' (LxWxH) with blocks size of 12" x 6" x 6" (LxWXH) with plaster/ paint finish |  | Sft | 66 |  | 0 | Sample Attached
7.2 | Counter wall plaster/ paint |  | Sft | 66 |  | 0
7.3 | Granite marble top in L-shape of size 22' x 4' (LxW) |  | Sft | 96 |  | 0 | Sample Attached
7.4 | Complete in all respect as per site requirement and satisfaction of the University's management |  |  |  |  | 0
8 | Electrical Works | Electrical
8.1 | Prepare the electrical layout and distribution system at site, calculate the load requirements, and design the distribution board system to ensure proper distribution and protection of electrical circuits. |  | Job | 1 |  | 0
8.2 | Make a list of required materials such as the distribution board, circuit breakers, cables, conduits, connectors, busbars, terminal blocks, etc. |  | Job | 1 |  | 0
8.3 | Aligning the existing running electric lines in route and tied up by ties where requied including labour for allingment with girders, concealed in repair and plaster work and in masory and material includes ties and tapes conduit and patch work with wire where required (Labour L/sump, ties clip) |  | Job | 1 |  | 0
8.4 | Providing, laying, & pulling of following size of wiring for Electric and A/C work. Providing & laying of following size PVC conduit for electric wires and Internet cat -6 including pipes,socket,bend, buried in ground as per route suggested also include cutting of floor and on ceiling for fans,lights and for main line conncetion varring dia of pipe (3/4", 1")
8.4.1 | a) 3/29 |  | Job | As per req. |  |  | Survey required
8.4.2 | b) 7/29 |  | Job | As per req. |  |  | Survey required
8.4.3 | c) 7/44 |  | Job | As per req. |  |  | Survey required
8.4.4 | d) 110/76 |  | Job | As per req. |  |  | Survey required
8.4.5 | e) 23/76 |  | Job | As per req. |  |  | Survey required
8.5 | Providing and Laying for Data cable Cat-6 separate wire for each PC till server room at least 50 internet conncetions and 14 internet face plates
8.6 | Supply and installation of multi light switches / sockets of CLIPSAL or good quality brand |  | No. | 20 |  | 0
8.7 | Concealed wiring on the wall to provide supply to all sockets |  | Rft | 150 |  | 0
8.8 | Supplying and installation of the distribution board securely on the wall or designated location. Providing supply to new DB from existing building main DB |  | Job | 1 |  | 0
8.9 | Supply, install, wire and commission the circuit breakers based on the design and electrical load distribution |  | Job | 1 |  | 0
8.10 | Terminate the power cables and load circuits to the distribution board. |  | Job | 1 |  | 0
8.11 | Install the busbars and connect them to the circuit breakers as per the electrical design and requirements |  | Job | 1 |  | 0
8.12 | Tests and commission the lines to ensure the distribution board is functioning correctly and safely. |  | Job | 1 |  | 0
8.13 | Supply and installation of electrical floor boxes as per requirement |  | Job | 1 |  | 0
8.14 | Supply and installation of ceiling LED lights of 2’x2’ |  | No. | 30 |  | 0
8.15 | Supply and installation of Exhaust Fan 20" for exhaust of kitchen |  | No. | 1 |  | 0
8.16 | Supply and installation of power plug / electric switch for A/Cs |  | No. | 6 |  | 0
8.17 | Supply and installation of Ceiling Fans of 2’x2’ |  | No. | 20 |  | 0
8.18 | Removal / dismantling existing electrical works |  | Job | 1 |  | 0
8.19 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
9 | AC / HVAC | Electrical
9.1 | Supply & installation of UPVC conduit Pipe including cutting and repair with insulation of 3/4" |  | Rft | 200 |  | 0
9.2 | Supply and installation of UPVC pipes for AC's copper and inner to outer main wire of 2"/3" dia include joint,elbow socket join with solution and laying as per route suggested also include cutting of floor |  | Rft | 200 |  | 0
9.3 | Supply and Installation of 06 iron angles for ACs outers |  | No. | 6 |  | 0
9.4 | Supply and installation of MS structure walkway of size 30'-0" x 3'-0"convenient for walking with safety rods and undertaking repair works for cleaning purposes |  | Sft | 90 |  | 0
9.5 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
10 | Paint Works | Civil Works
10.1 | Closer of all cavities by appling mortar of ratio 1:4 (cement and sand), plaster patch work, roof blockage removal where rain water will trap and patch wrok at roof where requireCloser of all cavities in labs by appling mortar of ratio 1:4 (cement and sand) |  | Job | 1 |  | 0
10.2 | Providing and applying prep-paint Hard Filling of ICI / Berger/Daimond or approved on existing graphy of walls in order to make it smooth it has been done by using said material |  | Job | 1 |  | 0
10.3 | Paint work Provide and apply 3 coats of paint to internal exisitng walls after filling on un plastered surface and paint on exisitng ceiling including grinding, cleaning, rubbing, sanding, filling after preparing base with primer coat; all to be done in strict accordance with the ( ICI / Berger/Dulex/Daimond ) manufacturer's specification etc |  | Sft | 2840 |  | 0
10.4 | Complete in all respect as per site requirement and satisfaction of the University's management |  | Job | 1 |  | 0
| Total |  |  |  |  | 0
Pricing & Taxes (in PKR)
Price
| WHT |  |  |  | 5.5% | 0 | Or included
| Total Price |  |  |  |  | 0
| GST |  |  |  | 0% | 0
| Gross Price after GST |  |  |  |  | 0
| Discount |  |  |  |  | 0
| Total Cost |  |  |  |  | 0
Validity, Warranty & Completion
Quote Validity
Completion / Delivery Time
Workmanship Warranty
Guarantee
Payment Terms
Advance
During Construction
| On Completion |  |  |  |  | 90%
| Retention (for 3 months) |  |  |  |  | 10%
Overall Standing
| Company's Pre-Qualification Points | 50% |  | N/A
| Financial Points | 50% |  | N/A
| Total Points |  |  | 0
| % age |  |  | 0%
Company Stamp